| Start-Work Checks ¦ Confined Space Entry |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ## Start Work Authority: Confirm below are in place and verified prior to starting work |  |  |  |  |  |  |
| # Save Your Life Actions All exposed person(s) performing work must confirm each of the action items below |  |  |  | Person(s) Performing Work (initial) | Start-Work Verifier (initial) |  |
| Energy Isolation |  |  |  |  |  |  |
| I have confirmed: |  |  |  |  |  |  |
| 1 | The confined space has been evaluated for energy isolation requirements. Does Confined Space Entry work require energy isolation? Yes: No: If yes: Complete Energy Isolation Start-Work Check. If no: Continue to Step 2. |  |  |  |  |  |
| Prior to Confined Space Entry |  |  |  |  |  |  |
| I have confirmed: |  |  |  |  |  |  |
| 2 | The hazards have been identified, controlled and it is safe to start. |  |  |  |  |  |
| 3 | Gas testing frequency has been established. |  |  |  |  |  |
| 4 | Ventilation is in place and working. |  |  |  |  |  |
| 5 | An attendant is in place and the method of communication is agreed to and tested prior to entry. |  |  |  |  |  |
| 6 | My breathing apparatus is in good working condition. If no breathing apparatus is required: Continue to the next step. |  |  |  |  |  |
| 7 | The rescue plan is in place and ready to be used. |  |  |  |  |  |
| ## Stop and seek help if any of the above controls/safeguards are not in place |  |  |  |  |  |  |
| ## Role |  | ## Printed Name | ## Date |  |  |  |
| Start -Work Verifier |  |  |  |  |  |  |

| Save Your Life Actions ¦ Confined Space Entry |  |  |
| --- | --- | --- |
| ## Start Work Authority: I will not start work until I confirm… |  |  |
| Actions |  | How to (examples) |
| Energy Isolation |  |  |
| 1 | The confined space has been evaluated for energy isolation requirements. Does Confined Space Entry work require energy isolation? Yes: No: If yes: Complete Energy Isolation Start-Work Check. If no: Continue to Step 2. | - • All potential energy sources have been identified, isolated and locked and tagged per isolation plan. • The system has been drained, flushed, or purged to remove explosive materials or gases. |
| Prior to Confined Space Entry |  |  |
| 2 | The hazards have been identified, controlled and it is safe to start. | • Complete a task risk assessment specific to the scope of work • Discuss hazards with the work team prior to the start of work - • Check for simultaneous operations that may introduce an additional hazards |
| 3 | Gas testing frequency has been established. | - • Gas testing is being done by a Qualified Gas Tester • Initial gas testing and the required follow up testing frequency before starting work. • Check testing results and agree on a schedule for follow-up testing before starting work |
| 4 | Ventilation is in place and working. | - • Confined space is continuously ventilated • If using mechanical ventilation: • The flexible ducting is arranged so there is continuous air flow in the entire space. • Equipment is bonded and grounded to prevent static electricity hazards. • Ventilation inlets: • are not near an ignition source. • will not be affected by wind/weather conditions and will not have flow restrictions. • will not draw contaminated air into the space (e.g., vehicle, generator exhaust). |
| 5 | An attendant is in place and the method of communication is agreed to and tested prior to entry. | - • Dedicated attendant is present at the designated entry point(s) to the confined space. • Ask the attendant to describe their responsibilities, which include: • Using previously agreed upon communication methods (e.g., hand signals, radio) - • Monitoring personnel in the confined space • Documenting entry and exits from the confined space • Monitoring the confined space for changing conditions • Initiating the emergency rescue response if needed |
| 6 | My breathing apparatus is in good working condition. If no breathing apparatus is required: Continue to the next step. | - • The breathing apparatus is complete, certified, in good working condition • The main air supply is correct and properly connected before using it. • Escape pack is in place and functioning prior to entry. |
| 7 | The rescue plan is in place and ready to be used. | •Discuss method of communication with attendant & rescue team prior to entry. •Rescue equipment is at the job site •The entrant is wearing rescue equipment per plan (e.g., harnesses, retrieval device). • The rescue crew: • is available • is aware of specific hazards related to this task - • can execute the rescue plan |