| Start-Work Checks ¦ Energy Isolation |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ## Start Work Authority: Confirm below are in place and verified prior to starting work |  |  |  |  |  |  |
| # Save Your Life Actions All exposed person (s) performing work must confirm each of the action items below |  |  |  | Person(s) Performing Work (initial) | Start-Work Verifier (initial) |  |
| I have confirmed: |  |  |  |  |  |  |
| 1 | The circuit, system, and/or equipment to be worked on, is identified in the isolation plan or drawing. |  |  |  |  |  |
| 2 | All hazardous energy sources have been identified. |  |  |  |  |  |
| 3 | Isolation points are identified per the isolation plan and/or drawing. |  |  |  |  |  |
| 4 | Isolation devices are set in the identified position per isolation plan or drawing. |  |  |  |  |  |
| 5 | The locks and tags are installed on the equipment/devices per the isolation plan. |  |  |  |  |  |
| 6 | Zero energy state has been verified, proven and demonstrated. |  |  |  |  |  |
| ## Stop and seek help if any of the above controls/safeguards are not in place |  |  |  |  |  |  |
| ## Role |  | ## Printed Name | ## Date |  |  |  |
| Start -Work Verifier |  |  |  |  |  |  |

| Save Your Life Actions ¦ Energy Isolation |  |  |
| --- | --- | --- |
| ## Start Work Authority: I will not start work until I confirm… |  |  |
| Actions |  | How to (examples) |
| 1 | The circuit, system, and/or equipment to be worked on, is identified in the isolation plan or drawing. | • Tags or markings identify the circuit, system and/or equipment indicated by the isolation plan or drawing. |
| 2 | All hazardous energy sources have been identified. | • Complete a task risk assessment specific to the scope of work • Discuss hazards with the work team prior to starting work • Inspect equipment for potential energy sources (e.g., electrical, pressure, hydraulic, mechanical, etc.) • Identify and mitigate hazards on any nearby energized circuit/systems/equipment |
| 3 | Isolation points are identified per the isolation plan and/or drawing. | • All isolations points are in place and tagged or marked (i.e., use isolation diagram, Equipment Isolation Procedure, P&IDs, or Process Flow Diagrams). |
| 4 | Isolation devices are set in the identified position per isolation plan or drawing. | • Valves are open or closed per the diagram and/or plan. • Blinds, spades and skillets are: • stamped or certified for the pressure rating of the equipment. • installed per the diagram and/or plan • Electrical isolation points are open/switched off or disconnected from power source |
| 5 | The locks and tags are installed on the equipment/devices per the isolation plan. | - • All isolations are in place and tagged or marked (i.e., use isolation diagram, Equipment Isolation Procedure, P&IDs, or Process Flow Diagrams). • Lock out tagout devices are on isolation points • Keys are in a designated secure location Note: If a lock is unable to be placed, confirm hazardous energy source(s) points are isolated and secured per isolation plan. |
| 6 | Zero energy state has been verified, proven and demonstrated. | - • Demonstrate powered equipment cannot be started. • Systems (lines, gauges, etc.) have been tested for residual or stored energy by: • Check bleed and vent points are open to release stored energy • Check gauges, measurements & volt meters Note: If zero energy is not possible, STOP and • Confirm controls/safeguards are in place, functioning, operated and maintained to manage the risk from residual energy |