| Start-Work Checks ¦ Hot Work |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ## Start Work Authority: Confirm below are in place and verified prior to starting work |  |  |  |  |  |  |  |
| # Save Your Life Actions All exposed person(s) performing work must confirm each of the action items below |  |  |  |  | Person(s) Performing Work (initial) | Start-Work Verifier (initial) |  |
| Energy Isolation |  |  |  |  |  |  |  |
| I have confirmed: |  |  |  |  |  |  |  |
| 1 | The Hot Work has been evaluated for Energy Isolation requirements. Does Hot Work require Energy Isolation? Yes: ☐ No: ☐ If Yes: Complete Energy Isolation Start-Work Check. If No: Continue to the next step2. |  |  |  |  |  |  |
| Hot Work |  |  |  |  |  |  |  |
| I have confirmed: |  |  |  |  |  |  |  |
| 2 | The hazards have been identified, controlled and it is safe to start. |  |  |  |  |  |  |
| 3 | Is the Hot Work in a Hazardous area? Yes: ☐ No: ☐ If Yes: Confirm the initial gas test has been completed. If No: Move to Step 5 |  |  |  |  |  |  |
| 4 | The Hot Work atmosphere will be continually monitored. |  |  |  |  |  |  |
| 5 | Ignition sources are identified and controlled. |  |  |  |  |  |  |
| 6 | Flammable/combustible materials have been removed or isolated. |  |  |  |  |  |  |
| ## Stop and seek help if any of the above controls/safeguards are not in place |  |  |  |  |  |  |  |
| ## Role |  | ## Printed Name |  | ## Date |  |  |  |
| Start -Work Verifier |  |  |  |  |  |  |  |
| Start-Work Checks ¦ Hot Work |  |  |  |  |  |  |  |
| ## Start Work Authority: I will not start work until I confirm… |  |  |  |  |  |  |  |
| Actions |  |  | How to (examples) |  |  |  |  |
| Energy Isolation |  |  |  |  |  |  |  |
| 1 | The Hot Work has been evaluated for Energy Isolation requirements. Does hot work require Energy Isolation? Yes: ☐ No: ☐ If Yes: Complete Energy Isolation Start-Work Check. If No: Continue to the next step. |  | • All potential energy sources have been identified, isolated and locked and tagged per isolation plan. • The system has been drained, flushed, or purged to remove flammable/explosive materials or gases. |  |  |  |  |
| Hot Work |  |  |  |  |  |  |  |
| 2 | The hazards have been identified, controlled and it is safe to start. |  | - • Complete a task risk assessment specific to the scope of work - • Discuss hazards with the work team prior to the start of work - • Check for simultaneous operations that may introduce any additional hazards |  |  |  |  |
| 3 | Is Hot Work in a Hazardous area? Yes: ☐ No: ☐ If Yes: Confirm the initial gas test has been completed. If No: Move to Step 5 |  | • The initial gas test has been completed by a Qualified Gas Tester. • At all openings below and above the hot work area • At a minimum distance around the hot work area • Gas readings are within the required range Note: Confirm gas testing outside of defined hazardous area if required for other reasons. Gas testing should be in compliance with company requirements and applicable regulations. |  |  |  |  |
| 4 | The Hot Work atmosphere will be continually monitored. |  | • Follow-up test frequency is documented (e.g., permit) before starting work. Note: "Continually" monitored means periodic monitoring of the atmosphere with a defined frequency or continuous monitoring throughout the duration of work activities. |  |  |  |  |
| 5 | Ignition sources are identified and controlled. |  | • Barriers are in place to prevent ignition in the hot work area: •Drains, gaps, openings in tanks or piping have been covered/sealed •Vents are isolated/routed away from the area • A trained Fire Watch has been designated and is at the work location. • Firefighting equipment is inspected, on site and fully functional. |  |  |  |  |
| 6 | Flammable/combustible materials have been removed or isolated |  | • All flammable/combustible materials have been removed or, if not removed, measures (e.g., fire blankets) are in place to shield them from ignition sources |  |  |  |  |