| Start-Work Checks ¦ Mechanical Lifting |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ## Start Work Authority: Confirm below are in place and verified prior to starting work |  |  |  |  |  |  |
| # Save Your Life Actions All exposed persons performing work must confirm each of the action items below |  |  |  | Person(s) Performing Work (initial) | Start-Work Verifier (initial) |  |
| I have confirmed: |  |  |  |  |  |  |
| 1 | The lift has been planned. |  |  |  |  |  |
| 2 | The hazards are identified and controlled. |  |  |  |  |  |
| 3 | Workers involved with the lift are qualified to perform their task. |  |  |  |  |  |
| 4 | The lifting equipment is stable and potential for unplanned movement has been assessed. |  |  |  |  |  |
| 5 | The lifting and rigging equipment is: • certified • inspected • rated for the lift |  |  |  |  |  |
| 6 | A communication plan and responsibilities are agreed to by the lift crew. |  |  |  |  |  |
| 7 | - The load has been inspected prior to lift. |  |  |  |  |  |
| 8 | Barriers and exclusion zones are in place. |  |  |  |  |  |
| ## Stop and seek help if any of the above controls/safeguards are not in place |  |  |  |  |  |  |
| ## Role |  | ## Printed Name | ## Date |  |  |  |
| Start -Work Verifier |  |  |  |  |  |  |

| Save Your Life Actions ¦ Mechanical Lifting |  |  |
| --- | --- | --- |
| ## Start Work Authority: I will not start work until I confirm… |  |  |
| Actions |  | How to (examples) |
| 1 | The lift has been planned. | - • The lift method, equipment and number of people required has been assessed and determined. - • When required, an approved lift plan or procedure is in place and has been evaluated by a competent person. - • The lift has been assessed for: •load weight • load size • centre of gravity (e.g., lifting points) • The lifting equipment's current capacity and condition has been assessed • Equipment operator and lifting crew have discussed the written lift plan prior to making a lift. |
| 2 | The hazards are identified and controlled. | • Complete a task risk assessment specific to the scope of work • Discuss hazards with the work team prior to the start of work • Identify overhead hazards and/or other obstructions (e.g., overhead power lines), making sure to check: •load path •swing radius •overhead hazards •pickup/lay-down zones • Check for simultaneous operations that may introduce any additional hazards. • Discuss stop work considerations if work situation changes including change of weather Note: Consider how to apply "hands free lifting" (e.g. use of push poles and/or taglines) |
| 3 | Workers involved with the lift are qualified to perform their task. | • Lifting equipment operator and lifting crew are qualified to perform their task. Note: To be "qualified" may require certification and/or assessment to meet company or applicable legal requirements |
| 4 | The lifting equipment is stable and potential for unplanned movement has been assessed. | • Lifting appliance is level and/or placed on stable ground. • Matting has been assessed for stability and is level for the lifting equipment. • Outriggers are deployed. • Loads have been assessed for stability, taking into account: •load securing, • workplace conditions/ equipment capacity • travel path • Equipment is operated per OEM requirements (e.g., weather, sea state and temperature) |
| 5 | The lifting and rigging equipment is: • certified • inspected • rated for the lift | • Pre-use crane inspection has been completed • Safety and monitoring devices are in place and functioning • Manufacturer’s load chart is available • The rigging equipment has been inspected prior to lift • The rigging equipment is rated for the lift Note: If load chart does not exist, assume equipment is not rated for the lift, Stop work and identify alternative lifting equipment that is rated for the load. |
| 6 | A communication plan and responsibilities are agreed to by the lift crew. | • Communication method(s) (e.g., hand signals, radio) have been agreed to and tested. • Equipment operator and lifting crew have discussed the emergency response including what emergency stop signals be used. • The person in charge of the lift has been identified as per the lift plan or procedure. • The members of the lift crew have agreed to their individual roles and responsibilities for the lift • The signaller for the lift has been identified (banksman/flagman/dogman/spotter) |
| 7 | - The load has been inspected prior to lift. | • Every load has been inspected for integrity and stability (e.g., centre of gravity) • The load and it's packaging can withstand the forces/motion caused by the lift • Loose objects have been secured or removed prior to lift • Loose and small objects are well packaged or placed in lifting basket |
| 8 | Barriers and exclusion zones are in place. | • Exclusion zones have been identified and controls are in place to protect people from line of fire hazards: • working under suspended loads • moving objects • dropped objects • Access to exclusion zones is controlled (e.g., attendant or physical barriers) • Escape routes are unobstructed and known by the work crew |